## app_config
ftpHost | localhost
ftpUsername | atc
ftpPassword | atc12345
ftpDumpFolder | REMC Report/WR

## regional_profile
name | installed_capacity | avc_point | actual_point | sch_point | type
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
WIND | 19758.58 | WR_WR_WIND _AVC | WREMCPRI.SCADA01.00045838 | WREMCPRI.SCADA01.00046856 | normal
SOLAR | 15034.86 | WR_WR_SOLAR _AVC | WREMCPRI.SCADA01.00045839 | WREMCPRI.SCADA01.00046855 | normal
Total Wind & Solar | 34793.44 | WR_WR_COMBINED_AVC | WREMCPRI.SCADA01.00045841 | WREMCPRI.SCADA01.00032726 | normal
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy

## ists_gen
name | installed_capacity | avc_id | act_id | sch_id | type | pooling_station | gen_type | gen_type2
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
Ostro Kutchh Wind Pvt. Ltd. (Naranpar Ravli)_Bachau | 250 | OKWPL_RE-WIND_WIND_AVC | WREMCPRI.SCADA01.00032415 | WREMCPRI.SCADA01.00045843 | normal | Bachau | wind | re
Renew Power Ltd. SECI-II (Bhuvad)_Bachau | 230 | RPL_SECI-II_RE-WIND_WIND_AVC | WREMCPRI.SCADA01.00045558 | WREMCPRI.SCADA01.00045844 | normal | Bachau | wind | re
Ostro Energy Pvt. Ltd (OEPL)(Naranpar Ravli)_Bachau | 50 | OEPL-WIND_WIND_AVC | WREMCPRI.SCADA02.00058267 | WREMCPRI.SCADA02.00058270 | normal | Bachau | wind | re
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
Bachau Pooling | 530 |  |  |  | agg_pooling_station | Bachau
dummy** |  |  |  |  | dummy
GIWEL-2(Vadva)_Bhuj | 250 | GIWEL_SECI-II_RE-WIND_WIND_AVC | WREMCPRI.SCADA01.00030481 | WREMCPRI.SCADA01.00045847 | normal | Bhuj | wind | re
GIWEL-3 (Naranpar)_Bhuj | 300 | GIWEL_SECI-III_RE-WIND_WIND_AVC | WREMCPRI.SCADA01.00037226 | WREMCPRI.SCADA01.00045846 | normal | Bhuj | wind | re
Inox (Dayapar)_Bhuj | 250 | IWISL-WIND_WIND_AVC | WREMCPRI.SCADA01.00030482 | WREMCPRI.SCADA01.00045845 | normal | Bhuj | wind | re
Adani Wind Energy Kutchh One Ltd. + Adani Wind Energy Kutchh Three Ltd. AWEK1L(Ratadiya)_Bhuj | 425 | AWEK1L-WIND_WIND_AVC | WREMCPRI.SCADA01.00046640 | WREMCPRI.SCADA01.00046641 | normal | Bhuj | wind | re
Alfanar Wind SECI-III_(Nanavalka)_Bhuj | 300 | AlfanarWind_SECI-III-WIND_WIND_AVC | WREMCPRI.SCADA01.00049203 | WREMCPRI.SCADA02.00052857 | normal | Bhuj | wind | re
Renew Power (AP2) SECI-III(Gadhsisa)_Bhuj | 300 | RWE_AP2_SECI-III-WIND_WIND_AVC | WREMCPRI.SCADA01.00047399 | WREMCPRI.SCADA01.00046369 | normal | Bhuj | wind | re
Adani Wind Energy Kutchh Five Ltd. (Ratadiya)_Bhuj | 131.5 | AWEKFL-WIND_WIND_AVC | WREMCPRI.SCADA02.00057721 | WREMCPRI.SCADA02.00058273 | normal | Bhuj | wind | re
Continuum Power Trading Pvt. Ltd (Dayapar)_Bhuj | 126 | CPTTNPL-WIND_WIND_AVC | WREMCPRI.SCADA02.00057713 | WREMCPRI.SCADA02.00058266 | normal | Bhuj | wind | re
Avikiran Solar India Pvt. Ltd. (Baranda)_Bhuj | 166 | ASIPL_BARANDA-WIND_WIND_AVC | WREMCPRI.SCADA02.00058915 | WREMCPRI.SCADA02.00061134 | normal | Bhuj | wind | re
NTPC Renewable Energy Limited (Wind) | 50 |  |  |  | dummy
dummy** |  |  |  |  | dummy
Bhuj Pooling | 2298.5 |  |  |  | agg_pooling_station | Bhuj
dummy** |  |  |  |  | dummy
Srijan Energy System Private Ltd.(Morjar)_Bhuj_2 | 148.5 | SRIJAN_MORJAR_BHJ2_W-WIND_WIND_AVC | WREMCPRI.SCADA01.00002757 | WREMCPRI.SCADA01.00002754 | normal | Bhuj_2 | wind | re
Sitac Kabini Renewable Private Ltd.(Chugger)_Bhuj_2 | 302.4 | SITAC_CHUGGER_BHJ2_W-WIND_WIND_AVC | WREMCPRI.SCADA01.00002756 | WREMCPRI.SCADA02.00061112 | normal | Bhuj_2 | wind | re
Alfanar Netra Vayu (Netra_Vayu)_Bhuj_2 | 161.8 | NETRA_KOTDA_BHUJ_W-WIND_WIND_AVC | WREMCPRI.SCADA02.00080509 | WREMCPRI.SCADA02.00061113 | normal | Bhuj_2 | wind | re
AWEK4L_Dedya_Bhuj_2 | 203.7 | AWEK4L_DEDYA_BHUJ2_W-WIND_WIND_AVC | WREMCPRI.SCADA02.00080486 | WREMCPRI.SCADA02.00080407 | normal | Bhuj_2 | wind | re
Bhuj_2 Pooling | 816.4 |  |  |  | agg_pooling_station | Bhuj_2
dummy** |  |  |  |  | dummy
POWERICA_Jamkhambhalia | 50.6 | POWERICA-WIND_WIND_AVC | WREMCPRI.SCADA02.00058926 | WREMCPRI.SCADA02.00062444 | normal | Jamkhambhalia | wind | re
Apraava Energy Private Limited (AEPL) (Khakharda)_Jamkhambaliya | 210 | APRAAVA_KHKRDA_JAM_W-WIND_WIND_AVC | WREMCPRI.SCADA02.00080487 | WREMCPRI.SCADA02.00080503 | normal | Jamkhambhalia | wind | re
Torrent Solargen Limited | 115 | Torrent_Sidpur_Jam_W-WIND_WIND_AVC | WREMCPRI.SCADA02.00081211 | WREMCPRI.SCADA02.00080940 | normal | Jamkhambhalia | wind | re
Jamkhambhalia Pooling | 375.6 |  |  |  | agg_pooling_station | Jamkhambhalia
dummy** |  |  |  |  | dummy
Adani Wind Energy MP One Private Limited (SBESS)_IndorePG | 324.4 | AWEMP1PL_PTNGR_IDR_W-WIND_WIND_AVC | WREMCPRI.SCADA02.00068413 | WREMCPRI.SCADA02.00061114 | normal | Indore | wind | re
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
Indore Pooling | 324.4 |  |  |  | agg_pooling_station | Indore
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
Arinsun (Barsaitadesh)_Rewa | 250 | Arinsun_RUMS-SOLAR_SOLAR_AVC | WREMCPRI.SCADA01.00032758 | WREMCPRI.SCADA01.00045850 | normal | Rewa | solar | re
Athena (Ramnagar)_Rewa | 250 | Athena_RUMS-SOLAR_SOLAR_AVC | WREMCPRI.SCADA01.00032759 | WREMCPRI.SCADA01.00045848 | normal | Rewa | solar | re
Mahindra (Badwar)_Rewa | 250 | Mahindra_RUMS-SOLAR_SOLAR_AVC | WREMCPRI.SCADA01.00032413 | WREMCPRI.SCADA01.00045849 | normal | Rewa | solar | re
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
Rewa Pooling | 750 |  |  |  | agg_pooling_station | Rewa
dummy** |  |  |  |  | dummy
TPREL_RSP | 100 | TPREL_RSP-SOLAR_SOLAR_AVC | WREMCPRI.SCADA02.00056861 | WREMCPRI.SCADA02.00056232 | normal | Radhaneshda | solar | re
GIPCL_RSP | 100 | GIPCL_RSP-SOLAR_SOLAR_AVC | WREMCPRI.SCADA02.00056860 | WREMCPRI.SCADA02.00056233 | normal | Radhaneshda | solar | re
ESPL_RSP | 200 | ESPL_RSP-SOLAR_SOLAR_AVC | WREMCPRI.SCADA02.00056862 | WREMCPRI.SCADA02.00056231 | normal | Radhaneshda | solar | re
GSECL_RSP | 100 | GSECL_RSP-SOLAR_SOLAR_AVC | WREMCPRI.SCADA02.00058920 | WREMCPRI.SCADA02.00058923 | normal | Radhaneshda | solar | re
GSECL_ph2_RSP_S | 100 | GSECL_ph2_RSP_S-SOLAR_SOLAR_AVC | WREMCPRI.SCADA02.00062364 | WREMCPRI.SCADA02.00081572 | normal | Radhaneshda | solar | re
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
Radhaneshda Pooling | 600 |  |  |  | agg_pooling_station | Radhaneshda
dummy** |  |  |  |  | dummy
KAWAS | 56 | KAWAS_SOLAR-SOLAR_SOLAR_AVC | WREMCPRI.SCADA02.00058925 | WREMCPRI.SCADA02.00062443 | normal | Kawas | solar | re
dummy** |  |  |  |  | dummy
KAWAS Pooling | 56 |  |  |  | agg_pooling_station | Kawas
dummy** |  |  |  |  | dummy
GANDHAR | 20 | GANDHAR_SOLAR-SOLAR_SOLAR_AVC | WREMCPRI.SCADA02.00065809 | WREMCPRI.SCADA02.00065810 | normal | Gandhar | solar | re
dummy** |  |  |  |  | dummy
GANDHAR Pooling | 20 |  |  |  | agg_pooling_station | Gandhar
dummy** |  |  |  |  | dummy
Sherisha Raipur | 50 | SHERISHA_RAIPUR_S-SOLAR_SOLAR_AVC | WREMCPRI.SCADA02.00080489 | WREMCPRI.SCADA02.00080504 | normal | Raipur | solar | re
dummy** |  |  |  |  | dummy
Raipur Pooling | 50 |  |  |  | agg_pooling_station | Raipur
dummy** |  |  |  |  | dummy
Solapur Solar | 10 | SOLAPUR_SOLAR-SOLAR_SOLAR_AVC | WREMCPRI.SCADA02.00080402 | WREMCPRI.SCADA02.00080406 | normal | Solapur NTPC | solar | re
dummy** |  |  |  |  | dummy |  |  | re
Solapur NTPC Pooling | 10 |  |  |  | agg_pooling_station | Solapur NTPC
dummy** |  |  |  |  | dummy
Masaya Solar (UPC) 300 MW Solar Project at Khandwa PS-SECI | 300 | MASAYA_BWSPRA_KNDW_S-SOLAR_SOLAR_AVC | WREMCPRI.SCADA02.00081220 | WREMCPRI.SCADA02.00081213 | normal | Khandwa Pooling | solar | re
dummy** |  |  |  |  | dummy
Khandwa Pooling | 300 |  |  |  | agg_pooling_station | Khandwa Pooling
dummy** |  |  |  |  | dummy
Adani Renewable Energy Holding Four Limited-Solar (AREH4L_PSS1_KPS1_S) | 1000 | AREH4L_PSS1_KPS1_S-SOLAR_SOLAR_AVC | WREMCPRI.SCADA02.00083045 | WREMCPRI.SCADA02.00083041 | normal | Khavda Pooling | solar | re
dummy** |  |  |  |  | dummy
Khavda Pooling | 1000 |  |  |  | agg_pooling_station | Khavda Pooling
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
Solar | 2786 |  |  |  | agg_gen_type |  | solar
Wind | 4344.9 |  |  |  | agg_gen_type |  | wind
Total ISTS RE | 7130.9 |  |  |  | agg_gen_type2 |  |  | re
dummy** |  |  |  |  | dummy

## state_gen
name | installed_capacity | avc_id | act_id | sch_id | type | state | gen_type | gen_type2
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
Gujarat Solar | 7243 | Gujarat_Gujarat_SOLAR _AVC | WREMCPRI.SCADA02.00053767 | WREMCPRI.SCADA01.00046847 | normal | guj | solar | re
Gujarat Wind | 7693 | Gujarat_Gujarat_WIND _AVC | WREMCPRI.SCADA02.00053737 | WREMCPRI.SCADA01.00046848 | normal | guj | wind | re
Total Gujarat RE | 14936 |  |  |  | agg_state | guj
dummy** |  |  |  |  | dummy
Maharashtra Solar | 3331 | Maharastra_Maharastra_SOLAR _AVC | WREMCPRI.SCADA01.00037566 | WREMCPRI.SCADA01.00046845 | normal | mah | solar | re
Maharashtra Wind | 5192 | Maharastra_Maharastra_WIND _AVC | WREMCPRI.SCADA01.00037565 | WREMCPRI.SCADA01.00046846 | normal | mah | wind | re
Total Maharashtra RE | 8523 |  |  |  | agg_state | mah
dummy** |  |  |  |  | dummy
Madhya Pradesh Solar | 1674.86 | Madhya Pradesh_Madhya Pradesh_SOLAR _AVC | WREMCPRI.SCADA01.00034363 | WREMCPRI.SCADA01.00033787 | normal | mp | solar | re
Madhya Pradesh Wind | 2528.68 | Madhya Pradesh_Madhya Pradesh_WIND _AVC | WREMCPRI.SCADA01.00034364 | WREMCPRI.SCADA01.00033795 | normal | mp | wind | re
Total Madhya Pradesh RE | 4203.54 |  |  |  | agg_state | mp
dummy** |  |  |  |  | dummy
Total State Wind | 15413.68 |  |  |  | agg_gen_type |  | wind
Total State Solar | 12248.86 |  |  |  | agg_gen_type |  | solar
Total State RE | 27662.54 |  |  |  | agg_gen_type2 |  |  | re
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy

## max_info
name | installed_capacity | act_id | type | pooling_station | gen_type | gen_type2
dummy** |  |  | dummy
dummy** |  |  | dummy
dummy** |  |  | dummy
dummy** |  |  | dummy
dummy** |  |  | dummy
Ostro Kutch_Bachau | 250 | WREMCPRI.SCADA01.00032415 | normal | Bachau | ists_wind | ists_re
Renew (Bhuvad)_Bachau | 230 | WREMCPRI.SCADA01.00045558 | normal | Bachau | ists_wind | ists_re
OEPL_Bachau | 50 | WREMCPRI.SCADA02.00058267 | normal | Bachau | ists_wind | ists_re
dummy** |  |  | dummy
dummy** |  |  | dummy
dummy** |  |  | dummy
dummy** |  |  | dummy
Bachau Pooling | 530 |  | agg_pooling_station | Bachau
dummy** |  |  | dummy
GIWEL-2(Vadva)_Bhuj | 250 | WREMCPRI.SCADA01.00030481 | normal | Bhuj | ists_wind | ists_re
GIWEL-3 (Naranpar)_Bhuj | 300 | WREMCPRI.SCADA01.00037226 | normal | Bhuj | ists_wind | ists_re
Inox (Dayapar)_Bhuj | 250 | WREMCPRI.SCADA01.00030482 | normal | Bhuj | ists_wind | ists_re
AWEK1L_Bhuj | 425 | WREMCPRI.SCADA01.00046640 | normal | Bhuj | ists_wind | ists_re
Alfanar_Bhuj | 300 | WREMCPRI.SCADA01.00049203 | normal | Bhuj | ists_wind | ists_re
Renew(AP2)_Bhuj | 300 | WREMCPRI.SCADA01.00047399 | normal | Bhuj | ists_wind | ists_re
AWEKFL (Ratadiya)_Bhuj | 131.5 | WREMCPRI.SCADA02.00057721 | normal | Bhuj | ists_wind | ists_re
CPTTNPL (Dayapar)_Bhuj | 126 | WREMCPRI.SCADA02.00057713 | normal | Bhuj | ists_wind | ists_re
ASIPL (Baranda)_Bhuj | 166 | WREMCPRI.SCADA02.00058915 | normal | Bhuj | ists_wind | ists_re
dummy** |  |  | dummy
dummy** |  |  | dummy
Bhuj Pooling | 2298.5 |  | agg_pooling_station | Bhuj
dummy** |  |  | dummy
Srijan_Bhuj_2 | 148.5 | WREMCPRI.SCADA01.00002757 | normal | Bhuj_2 | ists_wind | ists_re
Sitac_Bhuj_2 | 302.4 | WREMCPRI.SCADA01.00002756 | normal | Bhuj_2 | ists_wind | ists_re
Netra_Kotda_Bhuj_2 | 161.8 | WREMCPRI.SCADA02.00080509 | normal | Bhuj_2 | ists_wind | ists_re
AWEK4L_Dedya_Bhuj_2 | 203.7 | WREMCPRI.SCADA02.00080486 | normal | Bhuj_2 | ists_wind | ists_re
Bhuj_2 Pooling | 816.4 |  | agg_pooling_station | Bhuj_2
dummy** |  |  | dummy
POWERICA_Jamkhambhalia | 50.6 | WREMCPRI.SCADA02.00058926 | normal | Jamkhambhalia | ists_wind | ists_re
Apraava_Khakharda_Jamkhambaliya | 210 | WREMCPRI.SCADA02.00080487 | normal | Jamkhambhalia | ists_wind | ists_re
Torrent Solargen Limited | 115 | WREMCPRI.SCADA02.00081211 | normal | Jamkhambhalia | ists_wind | ists_re
Jamkhambhalia Pooling | 375.6 |  | agg_pooling_station | Jamkhambhalia
dummy** |  |  | dummy
Adani Wind Energy MP One Private Limited_PRITAMNAGAR | 324.4 | WREMCPRI.SCADA02.00068413 | normal | Indore PG | ists_wind | ists_re
dummy** |  |  | dummy
Indore Pooling | 324.4 |  | agg_pooling_station | Indore PG
dummy** |  |  | dummy
dummy** |  |  | dummy
Arinsun (Barsaitadesh)_Rewa | 250 | WREMCPRI.SCADA01.00032758 | normal | Rewa | ists_solar | ists_re
Athena (Ramnagar)_Rewa | 250 | WREMCPRI.SCADA01.00032759 | normal | Rewa | ists_solar | ists_re
Mahindra (Badwar)_Rewa | 250 | WREMCPRI.SCADA01.00032413 | normal | Rewa | ists_solar | ists_re
dummy** |  |  | dummy
dummy** |  |  | dummy
dummy** |  |  | dummy
dummy** |  |  | dummy
dummy** |  |  | dummy
Rewa Pooling | 750 |  | agg_pooling_station | Rewa
dummy** |  |  | dummy
TPREL_RSP | 100 | WREMCPRI.SCADA02.00056861 | normal | Radhaneshda | ists_solar | ists_re
GIPCL_RSP | 100 | WREMCPRI.SCADA02.00056860 | normal | Radhaneshda | ists_solar | ists_re
ESPL_RSP | 200 | WREMCPRI.SCADA02.00056862 | normal | Radhaneshda | ists_solar | ists_re
GSECL_RSP | 100 | WREMCPRI.SCADA02.00058920 | normal | Radhaneshda | ists_solar | ists_re
GSECL_ph2_RSP_S | 100 | WREMCPRI.SCADA02.00081211 | normal | Radhaneshda | ists_solar | ists_re
dummy** |  |  | dummy
dummy** |  |  | dummy
dummy** |  |  | dummy
Radhaneshda Pooling | 600 |  | agg_pooling_station | Radhaneshda
dummy** |  |  | dummy
KAWAS | 56 | WREMCPRI.SCADA02.00058925 | normal | Kawas | ists_solar | ists_re
dummy** |  |  | dummy
KAWAS Pooling | 56 |  | agg_pooling_station | Kawas
dummy** |  |  | dummy
GANDHAR | 20 | WREMCPRI.SCADA02.00065809 | normal | Gandhar | ists_solar | ists_re
dummy** |  |  | dummy
GANDHAR Pooling | 20 |  | agg_pooling_station | Gandhar
dummy** |  |  | dummy
Sherisha Raipur | 50 | WREMCPRI.SCADA02.00080489 | normal | Raipur | ists_solar | ists_re
dummy** |  |  | dummy
Raipur Pooling | 50 |  | agg_pooling_station | Raipur
dummy** |  |  | dummy
Solapur Solar | 10 | WREMCPRI.SCADA02.00080402 | normal | Solapur | ists_solar | ists_re
dummy** |  |  | dummy
Solapur NTPC Pooling | 10 |  | agg_pooling_station | Solapur
dummy** |  |  | dummy
Masaya Solar (UPC) 300 MW Solar Project at Khandwa PS-SECI | 300 | WREMCPRI.SCADA02.00081220 | normal | Khandwa | ists_solar | ists_re
dummy** |  |  | dummy
Khandwa Pooling | 300 |  | agg_pooling_station | Khandwa
dummy** |  |  | dummy
Adani Renewable Energy Holding Four Limited-Solar (AREH4L_PSS1_KPS1_S) | 1000 | WREMCPRI.SCADA02.00083045 | normal | Khavda | ists_solar | ists_re
dummy** |  |  | dummy
Khavda Pooling | 1000 |  | agg_pooling_station | Khavda
dummy** |  |  | dummy
ISTS Solar | 2786 |  | agg_gen_type |  | ists_solar
ISTS Wind | 4344.9 |  | agg_gen_type |  | ists_wind
Total ISTS RE | 7130.9 |  | agg_gen_type2 |  |  | ists_re
dummy** |  |  | dummy
Gujarat Solar | 6332 | WREMCPRI.SCADA02.00053767 | normal | guj | state_solar | state_re
Gujarat Wind | 6998 | WREMCPRI.SCADA02.00053737 | normal | guj | state_wind | state_re
Total Gujarat RE | 13330 |  | agg_pooling_station | guj
dummy** |  |  | dummy
Maharashtra Solar | 2957 | WREMCPRI.SCADA01.00037566 | normal | mah | state_solar | state_re
Maharashtra Wind | 5005 | WREMCPRI.SCADA01.00037565 | normal | mah | state_wind | state_re
Total Maharashtra RE | 7962 |  | agg_pooling_station | mah
dummy** |  |  | dummy
Madhya Pradesh Solar | 1610 | WREMCPRI.SCADA01.00034363 | normal | mp | state_solar | state_re
Madhya Pradesh Wind | 2428 | WREMCPRI.SCADA01.00034364 | normal | mp | state_wind | state_re
Total Madhya Pradesh RE | 4038 |  | agg_pooling_station | mp
dummy** |  |  | dummy
Total State Wind | 14431 |  | agg_gen_type |  | state_wind
Total State Solar | 10899 |  | agg_gen_type |  | state_solar
Total State RE | 25330 |  | agg_gen_type2 |  |  | state_re
dummy** |  |  | dummy
WIND | 19758.58 | WREMCPRI.SCADA01.00045838 | normal
SOLAR | 15034.86 | WREMCPRI.SCADA01.00045839 | normal
Total Wind & Solar | 34793.44 | WREMCPRI.SCADA01.00045841 | normal
dummy** |  |  | dummy

## volt_profile
name | 400_kv_pnt | 220_kv_pnt | type
dummy** |  |  | dummy
dummy** |  |  | dummy
dummy** |  |  | dummy
dummy** |  |  | dummy
BACHHAU | WREMCPRI.SCADA01.00016226 | WREMCPRI.SCADA01.00016228 | normal
BHUJ | WREMCPRI.SCADA01.00038819 | WREMCPRI.SCADA01.00046552 | normal
REWA | WREMCPRI.SCADA01.00016241 | WREMCPRI.SCADA01.00016243 | normal
RADHANESHDA |  | WREMCPRI.SCADA02.00053094 | normal
dummy** |  |  | dummy
dummy** |  |  | dummy
dummy** |  |  | dummy

## remc_regional_r0_error
name | r0_pnt | actual_pnt | cuf_pnt | avc_pnt | type
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
solar | WR_WR_SOLAR _R0 | WR_WR_SOLAR _Act | WR_WR_SOLAR _CUF | WR_WR_SOLAR _AVC | normal
wind | WR_WR_WIND _R0 | WR_WR_WIND _Act | WR_WR_WIND _CUF | WR_WR_WIND _AVC | normal
combined | WR_WR_COMBINED_R0 | WR_WR_COMBINED_Act | WR_WR_COMBINED_CUF | WR_WR_COMBINED_AVC | normal
ists_solar | WR-ISTS_WR-ISTS_SOLAR _R0 | WR-ISTS_WR-ISTS_SOLAR _Act | WR-ISTS_WR-ISTS_SOLAR _CUF | WR-ISTS_WR-ISTS_SOLAR _AVC | normal
ists_wind | WR-ISTS_WR-ISTS_WIND _R0 | WR-ISTS_WR-ISTS_WIND _Act | WR-ISTS_WR-ISTS_WIND _CUF | WR-ISTS_WR-ISTS_WIND _AVC | normal
ists_combined | WR-ISTS_WR-ISTS_COMBINED_R0 | WR-ISTS_WR-ISTS_COMBINED_Act | WR-ISTS_WR-ISTS_COMBINED_CUF | WR-ISTS_WR-ISTS_COMBINED_AVC | normal

## remc_regional_r16_error
name | r16_pnt | actual_pnt | cuf_pnt | avc_pnt | type
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
dummy** |  |  |  |  | dummy
solar | WR_WR_SOLAR _16 | WR_WR_SOLAR _Act | WR_WR_SOLAR _CUF | WR_WR_SOLAR _AVC | normal
wind | WR_WR_WIND _16 | WR_WR_WIND _Act | WR_WR_WIND _CUF | WR_WR_WIND _AVC | normal
combined | WR_WR_COMBINED_16 | WR_WR_COMBINED_Act | WR_WR_COMBINED_CUF | WR_WR_COMBINED_AVC | normal
ists_solar | WR-ISTS_WR-ISTS_SOLAR _16 | WR-ISTS_WR-ISTS_SOLAR _Act | WR-ISTS_WR-ISTS_SOLAR _CUF | WR-ISTS_WR-ISTS_SOLAR _AVC | normal
ists_wind | WR-ISTS_WR-ISTS_WIND _16 | WR-ISTS_WR-ISTS_WIND _Act | WR-ISTS_WR-ISTS_WIND _CUF | WR-ISTS_WR-ISTS_WIND _AVC | normal
ists_combined | WR-ISTS_WR-ISTS_COMBINED_16 | WR-ISTS_WR-ISTS_COMBINED_Act | WR-ISTS_WR-ISTS_COMBINED_CUF | WR-ISTS_WR-ISTS_COMBINED_AVC | normal

## remc_ists_error
name | r0_pnt | r16_pnt | actual_pnt | cuf_pnt | avc_pnt | type | pooling_station
dummy** | [5 empty] | dummy
dummy** | [5 empty] | dummy
dummy** | [5 empty] | dummy
dummy** | [5 empty] | dummy
dummy** | [5 empty] | dummy
dummy** | [5 empty] | dummy
Ostro-(OKWPL_RE)-Wind | OKWPL_RE-WIND_WIND_R0 | OKWPL_RE-WIND_WIND_16 | OKWPL_RE-WIND_WIND_Act | OKWPL_RE-WIND_WIND_CUF | OKWPL_RE-WIND_WIND_AVC | normal | Bachau
Bhuvad(RPL SECI-2) Renew- Wind | RPL_SECI-II_RE-WIND_WIND_R0 | RPL_SECI-II_RE-WIND_WIND_16 | RPL_SECI-II_RE-WIND_WIND_Act | RPL_SECI-II_RE-WIND_WIND_CUF | RPL_SECI-II_RE-WIND_WIND_AVC | normal | Bachau
OEPL-Wind | OEPL-WIND_WIND_R0 | OEPL-WIND_WIND_16 | OEPL-WIND_WIND_Act | OEPL-WIND_WIND_CUF | OEPL-WIND_WIND_AVC | normal | Bachau
dummy** | [5 empty] | dummy
dummy** | [5 empty] | dummy
dummy** | [5 empty] | dummy
dummy** | [5 empty] | dummy
Bachau Pooling | [5 empty] | agg_pooling_station | Bachau
dummy** | [5 empty] | dummy
Vadva(GIWEL-2)-WIND | GIWEL_SECI-II_RE-WIND_WIND_R0 | GIWEL_SECI-II_RE-WIND_WIND_16 | GIWEL_SECI-II_RE-WIND_WIND_Act | GIWEL_SECI-II_RE-WIND_WIND_CUF | GIWEL_SECI-II_RE-WIND_WIND_AVC | normal | Bhuj
Naranpar(GIWEL-3)-WIND | GIWEL_SECI-III_RE-WIND_WIND_R0 | GIWEL_SECI-III_RE-WIND_WIND_16 | GIWEL_SECI-III_RE-WIND_WIND_Act | GIWEL_SECI-III_RE-WIND_WIND_CUF | GIWEL_SECI-III_RE-WIND_WIND_AVC | normal | Bhuj
Dayapar(Inox-IWISL)-WIND | IWISL-WIND_WIND_R0 | IWISL-WIND_WIND_16 | IWISL-WIND_WIND_Act | IWISL-WIND_WIND_CUF | IWISL-WIND_WIND_AVC | normal | Bhuj
AWEK1L-WIND | AWEK1L-WIND_WIND_R0 | AWEK1L-WIND_WIND_16 | AWEK1L-WIND_WIND_Act | AWEK1L-WIND_WIND_CUF | AWEK1L-WIND_WIND_AVC | normal | Bhuj
Alfanar-WIND | AlfanarWind_SECI-III-WIND_WIND_R0 | AlfanarWind_SECI-III-WIND_WIND_16 | AlfanarWind_SECI-III-WIND_WIND_Act | AlfanarWind_SECI-III-WIND_WIND_CUF | AlfanarWind_SECI-III-WIND_WIND_AVC | normal | Bhuj
Renew(AP2)-Wind | RWE_AP2_SECI-III-WIND_WIND_R0 | RWE_AP2_SECI-III-WIND_WIND_16 | RWE_AP2_SECI-III-WIND_WIND_Act | RWE_AP2_SECI-III-WIND_WIND_CUF | RWE_AP2_SECI-III-WIND_WIND_AVC | normal | Bhuj
AWEKFL-Wind | AWEKFL-WIND_WIND_R0 | AWEKFL-WIND_WIND_16 | AWEKFL-WIND_WIND_Act | AWEKFL-WIND_WIND_CUF | AWEKFL-WIND_WIND_AVC | normal | Bhuj
CPTTNPL-Wind | CPTTNPL-WIND_WIND_R0 | CPTTNPL-WIND_WIND_16 | CPTTNPL-WIND_WIND_Act | CPTTNPL-WIND_WIND_CUF | CPTTNPL-WIND_WIND_AVC | normal | Bhuj
ASIPL (Baranda)-WIND | ASIPL_BARANDA-WIND_WIND_R0 | ASIPL_BARANDA-WIND_WIND_16 | ASIPL_BARANDA-WIND_WIND_Act | ASIPL_BARANDA-WIND_WIND_CUF | ASIPL_BARANDA-WIND_WIND_AVC | normal | Bhuj
dummy** | [5 empty] | dummy
dummy** | [5 empty] | dummy
Bhuj Pooling | [5 empty] | agg_pooling_station | Bhuj
dummy** | [5 empty] | dummy
Srijan_Bhuj_2 | SRIJAN_MORJAR_BHJ2_W-WIND_WIND_R0 | SRIJAN_MORJAR_BHJ2_W-WIND_WIND_16 | SRIJAN_MORJAR_BHJ2_W-WIND_WIND_Act | SRIJAN_MORJAR_BHJ2_W-WIND_WIND_CUF | SRIJAN_MORJAR_BHJ2_W-WIND_WIND_AVC | normal | Bhuj_2
Sitac_Bhuj_2 | SITAC_CHUGGER_BHJ2_W-WIND_WIND_R0 | SITAC_CHUGGER_BHJ2_W-WIND_WIND_16 | SITAC_CHUGGER_BHJ2_W-WIND_WIND_Act | SITAC_CHUGGER_BHJ2_W-WIND_WIND_CUF | SITAC_CHUGGER_BHJ2_W-WIND_WIND_AVC | normal | Bhuj_2
Netra_Kotda_Bhuj_2 | NETRA_KOTDA_BHUJ_W-WIND_WIND_R0 | NETRA_KOTDA_BHUJ_W-WIND_WIND_16 | NETRA_KOTDA_BHUJ_W-WIND_WIND_Act | NETRA_KOTDA_BHUJ_W-WIND_WIND_CUF | NETRA_KOTDA_BHUJ_W-WIND_WIND_AVC | normal | Bhuj_2
AWEK4L_Dedya_Bhuj_2 | AWEK4L_DEDYA_BHUJ2_W-WIND_WIND_R0 | AWEK4L_DEDYA_BHUJ2_W-WIND_WIND_16 | AWEK4L_DEDYA_BHUJ2_W-WIND_WIND_Act | AWEK4L_DEDYA_BHUJ2_W-WIND_WIND_CUF | AWEK4L_DEDYA_BHUJ2_W-WIND_WIND_AVC | normal | Bhuj_2
Bhuj_2 Pooling | [5 empty] | agg_pooling_station | Bhuj_2
dummy** | [5 empty] | dummy
POWERICA_Jamkhambhalia | POWERICA-WIND_WIND_R0 | POWERICA-WIND_WIND_16 | POWERICA-WIND_WIND_Act | POWERICA-WIND_WIND_CUF | POWERICA-WIND_WIND_AVC | normal | Jamkhambalia
Apraava_Khakharda_Jamkhambaliya | APRAAVA_KHKRDA_JAM_W-WIND_WIND_R0 | APRAAVA_KHKRDA_JAM_W-WIND_WIND_16 | APRAAVA_KHKRDA_JAM_W-WIND_WIND_Act | APRAAVA_KHKRDA_JAM_W-WIND_WIND_CUF | APRAAVA_KHKRDA_JAM_W-WIND_WIND_AVC | normal | Jamkhambalia
Torrent Solargen Limited | Torrent_Sidpur_Jam_W-WIND_WIND_R0 | Torrent_Sidpur_Jam_W-WIND_WIND_16 | Torrent_Sidpur_Jam_W-WIND_WIND_Act | Torrent_Sidpur_Jam_W-WIND_WIND_CUF | Torrent_Sidpur_Jam_W-WIND_WIND_AVC | normal | Jamkhambalia
Jamkhambhalia Pooling | [5 empty] | agg_pooling_station | Jamkhambalia
dummy** | [5 empty] | dummy
Adani Wind Energy MP One Private Limited_PRITAMNAGAR | AWEMP1PL_PTNGR_IDR_W-WIND_WIND_R0 | AWEMP1PL_PTNGR_IDR_W-WIND_WIND_16 | AWEMP1PL_PTNGR_IDR_W-WIND_WIND_Act | AWEMP1PL_PTNGR_IDR_W-WIND_WIND_CUF | AWEMP1PL_PTNGR_IDR_W-WIND_WIND_AVC | normal | Indore PG
dummy** | [5 empty] | dummy
Indore Pooling | [5 empty] | agg_pooling_station | Indore PG
dummy** | [5 empty] | dummy
dummy** | [5 empty] | dummy
dummy** | [5 empty] | dummy
dummy** | [5 empty] | dummy
Barsaita Desh (Arinsun)-Solar | Arinsun_RUMS-SOLAR_SOLAR_R0 | Arinsun_RUMS-SOLAR_SOLAR_16 | Arinsun_RUMS-SOLAR_SOLAR_Act | Arinsun_RUMS-SOLAR_SOLAR_CUF | Arinsun_RUMS-SOLAR_SOLAR_AVC | normal | Rewa
Ram nagar (ATHENA RUMS)-Solar | Athena_RUMS-SOLAR_SOLAR_R0 | Athena_RUMS-SOLAR_SOLAR_16 | Athena_RUMS-SOLAR_SOLAR_Act | Athena_RUMS-SOLAR_SOLAR_CUF | Athena_RUMS-SOLAR_SOLAR_AVC | normal | Rewa
Badwar( Mahindra Rums)-Solar | Mahindra_RUMS-SOLAR_SOLAR_R0 | Mahindra_RUMS-SOLAR_SOLAR_16 | Mahindra_RUMS-SOLAR_SOLAR_Act | Mahindra_RUMS-SOLAR_SOLAR_CUF | Mahindra_RUMS-SOLAR_SOLAR_AVC | normal | Rewa
dummy** | [5 empty] | dummy
dummy** | [5 empty] | dummy
dummy** | [5 empty] | dummy
dummy** | [5 empty] | dummy
dummy** | [5 empty] | dummy
Rewa Pooling | [5 empty] | agg_pooling_station | Rewa
dummy** | [5 empty] | dummy
TPREL_RSP | TPREL_RSP-SOLAR_SOLAR_R0 | TPREL_RSP-SOLAR_SOLAR_16 | TPREL_RSP-SOLAR_SOLAR_Act | TPREL_RSP-SOLAR_SOLAR_CUF | TPREL_RSP-SOLAR_SOLAR_AVC | normal | Radhaneshda
GIPCL_RSP | GIPCL_RSP-SOLAR_SOLAR_R0 | GIPCL_RSP-SOLAR_SOLAR_16 | GIPCL_RSP-SOLAR_SOLAR_Act | GIPCL_RSP-SOLAR_SOLAR_CUF | GIPCL_RSP-SOLAR_SOLAR_AVC | normal | Radhaneshda
ESPL_RSP | ESPL_RSP-SOLAR_SOLAR_R0 | ESPL_RSP-SOLAR_SOLAR_16 | ESPL_RSP-SOLAR_SOLAR_Act | ESPL_RSP-SOLAR_SOLAR_CUF | ESPL_RSP-SOLAR_SOLAR_AVC | normal | Radhaneshda
GSECL_RSP | GSECL_RSP-SOLAR_SOLAR_R0 | GSECL_RSP-SOLAR_SOLAR_16 | GSECL_RSP-SOLAR_SOLAR_Act | GSECL_RSP-SOLAR_SOLAR_CUF | GSECL_RSP-SOLAR_SOLAR_AVC | normal | Radhaneshda
GSECL_ph2_RSP_S | GSECL_ph2_RSP_S-SOLAR_SOLAR_R0 | GSECL_ph2_RSP_S-SOLAR_SOLAR_16 | GSECL_ph2_RSP_S-SOLAR_SOLAR_Act | GSECL_ph2_RSP_S-SOLAR_SOLAR_CUF | GSECL_ph2_RSP_S-SOLAR_SOLAR_AVC | normal | Radhaneshda
dummy** | [5 empty] | dummy
dummy** | [5 empty] | dummy
dummy** | [5 empty] | dummy
Radhaneshda Pooling | [5 empty] | agg_pooling_station | Radhaneshda
dummy** | [5 empty] | dummy
KAWAS | KAWAS_SOLAR-SOLAR_SOLAR_R0 | KAWAS_SOLAR-SOLAR_SOLAR_16 | KAWAS_SOLAR-SOLAR_SOLAR_Act | KAWAS_SOLAR-SOLAR_SOLAR_CUF | KAWAS_SOLAR-SOLAR_SOLAR_AVC | normal | Kawas
dummy** | [5 empty] | dummy
KAWAS Pooling | [5 empty] | agg_pooling_station | Kawas
dummy** | [5 empty] | dummy
GANDHAR | GANDHAR_SOLAR-SOLAR_SOLAR_R0 | GANDHAR_SOLAR-SOLAR_SOLAR_16 | GANDHAR_SOLAR-SOLAR_SOLAR_Act | GANDHAR_SOLAR-SOLAR_SOLAR_CUF | GANDHAR_SOLAR-SOLAR_SOLAR_AVC | normal | Gandhar
dummy** | [5 empty] | dummy
GANDHAR Pooling | [5 empty] | agg_pooling_station | Gandhar
dummy** | [5 empty] | dummy
Sherisha Raipur | SHERISHA_RAIPUR_S-SOLAR_SOLAR_R0 | SHERISHA_RAIPUR_S-SOLAR_SOLAR_16 | SHERISHA_RAIPUR_S-SOLAR_SOLAR_Act | SHERISHA_RAIPUR_S-SOLAR_SOLAR_CUF | SHERISHA_RAIPUR_S-SOLAR_SOLAR_AVC | normal | Raipur
dummy** | [5 empty] | dummy
Raipur Pooling | [5 empty] | agg_pooling_station | Raipur
dummy** | [5 empty] | dummy
Solapur Solar | SOLAPUR_SOLAR-SOLAR_SOLAR_R0 | SOLAPUR_SOLAR-SOLAR_SOLAR_16 | SOLAPUR_SOLAR-SOLAR_SOLAR_Act | SOLAPUR_SOLAR-SOLAR_SOLAR_CUF | SOLAPUR_SOLAR-SOLAR_SOLAR_AVC | normal | Solapur NTPC
dummy** | [5 empty] | dummy
Solapur NTPC Pooling | [5 empty] | agg_pooling_station | Solapur NTPC
dummy** | [5 empty] | dummy
Masaya Solar (UPC) 300 MW Solar Project at Khandwa PS-SECI | MASAYA_BWSPRA_KNDW_S-SOLAR_SOLAR_R0 | MASAYA_BWSPRA_KNDW_S-SOLAR_SOLAR_16 | MASAYA_BWSPRA_KNDW_S-SOLAR_SOLAR_Act | MASAYA_BWSPRA_KNDW_S-SOLAR_SOLAR_CUF | MASAYA_BWSPRA_KNDW_S-SOLAR_SOLAR_AVC | normal | Khandwa
dummy** | [5 empty] | dummy
Khandwa Pooling | [5 empty] | agg_pooling_station | Khandwa
dummy** | [5 empty] | dummy
Adani Renewable Energy Holding Four Limited-Solar (AREH4L_PSS1_KPS1_S) | AREH4L_PSS1_KPS1_S-SOLAR_SOLAR_R0 | AREH4L_PSS1_KPS1_S-SOLAR_SOLAR_16 | AREH4L_PSS1_KPS1_S-SOLAR_SOLAR_Act | AREH4L_PSS1_KPS1_S-SOLAR_SOLAR_CUF | AREH4L_PSS1_KPS1_S-SOLAR_SOLAR_AVC | normal | Khavda
dummy** | [5 empty] | dummy
Khavda Pooling | [5 empty] | agg_pooling_station | Khavda
dummy** | [5 empty] | dummy
Total ISTS Wind | WR-ISTS_WR-ISTS_WIND _R0 | WR-ISTS_WR-ISTS_WIND _16 | WR-ISTS_WR-ISTS_WIND _Act | WR-ISTS_WR-ISTS_WIND _CUF | WR-ISTS_WR-ISTS_WIND _AVC | normal
Total ISTS Solar | WR-ISTS_WR-ISTS_SOLAR _R0 | WR-ISTS_WR-ISTS_SOLAR _16 | WR-ISTS_WR-ISTS_SOLAR _Act | WR-ISTS_WR-ISTS_SOLAR _CUF | WR-ISTS_WR-ISTS_SOLAR _AVC | normal
Total WR ISTS RE | WR-ISTS_WR-ISTS_COMBINED_R0 | WR-ISTS_WR-ISTS_COMBINED_16 | WR-ISTS_WR-ISTS_COMBINED_Act | WR-ISTS_WR-ISTS_COMBINED_CUF | WR-ISTS_WR-ISTS_COMBINED_AVC | normal
dummy** | [5 empty] | dummy
dummy** | [5 empty] | dummy
dummy** | [5 empty] | dummy
dummy** | [5 empty] | dummy
dummy** | [5 empty] | dummy
dummy** | [5 empty] | dummy
dummy** | [5 empty] | dummy
dummy** | [5 empty] | dummy
dummy** | [5 empty] | dummy
dummy** | [5 empty] | dummy

## remc_state_error
name | r0_pnt | r16_pnt | actual_pnt | cuf_pnt | avc_pnt | type | state | gen_type | gen_type_2
dummy** | [5 empty] | dummy
dummy** | [5 empty] | dummy
dummy** | [5 empty] | dummy
dummy** | [5 empty] | dummy
Gujarat Wind | Gujarat_Gujarat_WIND _R0 | Gujarat_Gujarat_WIND _16 | Gujarat_Gujarat_WIND _Act | Gujarat_Gujarat_WIND _CUF | Gujarat_Gujarat_WIND _AVC | normal | guj | wind | re
Gujarat Solar | Gujarat_Gujarat_SOLAR _R0 | Gujarat_Gujarat_SOLAR _16 | Gujarat_Gujarat_SOLAR _Act | Gujarat_Gujarat_SOLAR _CUF | Gujarat_Gujarat_SOLAR _AVC | normal | guj | solar | re
Total Gujarat RE | [5 empty] | agg_state | guj
dummy** | [5 empty] | dummy
Maharashtra Wind | Maharastra_Maharastra_WIND _R0 | Maharastra_Maharastra_WIND _16 | Maharastra_Maharastra_WIND _Act | Maharastra_Maharastra_WIND _CUF | Maharastra_Maharastra_WIND _AVC | normal | mah | wind | re
Maharashtra Solar | Maharastra_Maharastra_SOLAR _R0 | Maharastra_Maharastra_SOLAR _16 | Maharastra_Maharastra_SOLAR _Act | Maharastra_Maharastra_SOLAR _CUF | Maharastra_Maharastra_SOLAR _AVC | normal | mah | solar | re
Total Maharashtra RE | [5 empty] | agg_state | mah
dummy** | [5 empty] | dummy
Madhya Pradesh Wind | Madhya Pradesh_Madhya Pradesh_WIND _R0 | Madhya Pradesh_Madhya Pradesh_WIND _16 | Madhya Pradesh_Madhya Pradesh_WIND _Act | Madhya Pradesh_Madhya Pradesh_WIND _CUF | Madhya Pradesh_Madhya Pradesh_WIND _AVC | normal | mp | wind | re
Madhya Pradesh Solar | Madhya Pradesh_Madhya Pradesh_SOLAR _R0 | Madhya Pradesh_Madhya Pradesh_SOLAR _16 | Madhya Pradesh_Madhya Pradesh_SOLAR _Act | Madhya Pradesh_Madhya Pradesh_SOLAR _CUF | Madhya Pradesh_Madhya Pradesh_SOLAR _AVC | normal | mp | solar | re
Total Madhya Pradesh RE | [5 empty] | agg_state | mp
dummy** | [5 empty] | dummy
Total State Wind | [5 empty] | agg_gen_type |  | wind | re
Total State Solar | [5 empty] | agg_gen_type |  | solar | re
Total State RE | [5 empty] | agg_gen_type_2 |  |  | re

## ists_fsp_err_num_blks
name | r16_pnt | avc_pnt | actual_pnt | type | pooling_station
dummy** |  |  |  | dummy
dummy** |  |  |  | dummy
dummy** |  |  |  | dummy
dummy** |  |  |  | dummy
dummy** |  |  |  | dummy
dummy** |  |  |  | dummy
Ostro-(OKWPL_RE)-Wind | OKWPL_RE-WIND_WIND_16 | OKWPL_RE-WIND_WIND_AVC | OKWPL_RE-WIND_WIND_Act | normal | Bachau
Bhuvad(RPL SECI-2) Renew- Wind | RPL_SECI-II_RE-WIND_WIND_16 | RPL_SECI-II_RE-WIND_WIND_AVC | RPL_SECI-II_RE-WIND_WIND_Act | normal | Bachau
OEPL-Wind | OEPL-WIND_WIND_16 | OEPL-WIND_WIND_AVC | OEPL-WIND_WIND_Act | normal | Bachau
dummy** |  |  |  | dummy
dummy** |  |  |  | dummy
dummy** |  |  |  | dummy
dummy** |  |  |  | dummy
Bachau Pooling |  |  |  | agg_pooling_station | Bachau
dummy** |  |  |  | dummy
Vadva(GIWEL-2)-WIND | GIWEL_SECI-II_RE-WIND_WIND_16 | GIWEL_SECI-II_RE-WIND_WIND_AVC | GIWEL_SECI-II_RE-WIND_WIND_Act | normal | Bhuj
Naranpar(GIWEL-3)-WIND | GIWEL_SECI-III_RE-WIND_WIND_16 | GIWEL_SECI-III_RE-WIND_WIND_AVC | GIWEL_SECI-III_RE-WIND_WIND_Act | normal | Bhuj
Dayapar(Inox-IWISL)-WIND | IWISL-WIND_WIND_16 | IWISL-WIND_WIND_AVC | IWISL-WIND_WIND_Act | normal | Bhuj
AWEK1L-WIND | AWEK1L-WIND_WIND_16 | AWEK1L-WIND_WIND_AVC | AWEK1L-WIND_WIND_Act | normal | Bhuj
Alfanar-WIND | AlfanarWind_SECI-III-WIND_WIND_16 | AlfanarWind_SECI-III-WIND_WIND_AVC | AlfanarWind_SECI-III-WIND_WIND_Act | normal | Bhuj
Renew(AP2)-Wind | RWE_AP2_SECI-III-WIND_WIND_16 | RWE_AP2_SECI-III-WIND_WIND_AVC | RWE_AP2_SECI-III-WIND_WIND_Act | normal | Bhuj
AWEKFL-Wind | AWEKFL-WIND_WIND_16 | AWEKFL-WIND_WIND_AVC | AWEKFL-WIND_WIND_Act | normal | Bhuj
CPTTNPL-Wind | CPTTNPL-WIND_WIND_16 | CPTTNPL-WIND_WIND_AVC | CPTTNPL-WIND_WIND_Act | normal | Bhuj
ASIPL (Baranda)-WIND | ASIPL_BARANDA-WIND_WIND_16 | ASIPL_BARANDA-WIND_WIND_AVC | ASIPL_BARANDA-WIND_WIND_Act | normal | Bhuj
dummy** |  |  |  | dummy
dummy** |  |  |  | dummy
Bhuj Pooling |  |  |  | agg_pooling_station | Bhuj
dummy** |  |  |  | dummy
Srijan_Bhuj_2 | SRIJAN_MORJAR_BHJ2_W-WIND_WIND_16 | SRIJAN_MORJAR_BHJ2_W-WIND_WIND_AVC | SRIJAN_MORJAR_BHJ2_W-WIND_WIND_Act | normal | Bhuj_2
Sitac_Bhuj_2 | SITAC_CHUGGER_BHJ2_W-WIND_WIND_16 | SITAC_CHUGGER_BHJ2_W-WIND_WIND_AVC | SITAC_CHUGGER_BHJ2_W-WIND_WIND_Act | normal | Bhuj_2
Netra_Kotda_Bhuj_2 | NETRA_KOTDA_BHUJ_W-WIND_WIND_16 | NETRA_KOTDA_BHUJ_W-WIND_WIND_AVC | NETRA_KOTDA_BHUJ_W-WIND_WIND_Act | normal | Bhuj_2
AWEK4L_Dedya_Bhuj_2 | AWEK4L_DEDYA_BHUJ2_W-WIND_WIND_16 | AWEK4L_DEDYA_BHUJ2_W-WIND_WIND_AVC | AWEK4L_DEDYA_BHUJ2_W-WIND_WIND_Act | normal | Bhuj_2
Bhuj_2 Pooling |  |  |  | agg_pooling_station | Bhuj_2
dummy** |  |  |  | dummy
POWERICA_Jamkhambhalia | POWERICA-WIND_WIND_16 | POWERICA-WIND_WIND_AVC | POWERICA-WIND_WIND_Act | normal | Jamkhambalia
Apraava_Khakharda_Jamkhambaliya | APRAAVA_KHKRDA_JAM_W-WIND_WIND_16 | APRAAVA_KHKRDA_JAM_W-WIND_WIND_AVC | APRAAVA_KHKRDA_JAM_W-WIND_WIND_Act | normal | Jamkhambalia
Torrent Solargen Limited | Torrent_Sidpur_Jam_W-WIND_WIND_16 | Torrent_Sidpur_Jam_W-WIND_WIND_AVC | Torrent_Sidpur_Jam_W-WIND_WIND_Act | normal | Jamkhambalia
Jamkhambhalia Pooling |  |  |  | agg_pooling_station | Jamkhambalia
dummy** |  |  |  | dummy
Adani Wind Energy MP One Private Limited_PRITAMNAGAR | AWEMP1PL_PTNGR_IDR_W-WIND_WIND_16 | AWEMP1PL_PTNGR_IDR_W-WIND_WIND_AVC | AWEMP1PL_PTNGR_IDR_W-WIND_WIND_Act | normal | Indore PG
dummy** |  |  |  | dummy
Indore PG Pooling |  |  |  | agg_pooling_station | Indore PG
dummy** |  |  |  | dummy
dummy** |  |  |  | dummy
Barsaita Desh (Arinsun)-Solar | Arinsun_RUMS-SOLAR_SOLAR_16 | Arinsun_RUMS-SOLAR_SOLAR_AVC | Arinsun_RUMS-SOLAR_SOLAR_Act | normal | Rewa
Ram nagar (ATHENA RUMS)-Solar | Athena_RUMS-SOLAR_SOLAR_16 | Athena_RUMS-SOLAR_SOLAR_AVC | Athena_RUMS-SOLAR_SOLAR_Act | normal | Rewa
Badwar( Mahindra Rums)-Solar | Mahindra_RUMS-SOLAR_SOLAR_16 | Mahindra_RUMS-SOLAR_SOLAR_AVC | Mahindra_RUMS-SOLAR_SOLAR_Act | normal | Rewa
dummy** |  |  |  | dummy
dummy** |  |  |  | dummy
dummy** |  |  |  | dummy
dummy** |  |  |  | dummy
dummy** |  |  |  | dummy
Rewa Pooling |  |  |  | agg_pooling_station | Rewa
dummy** |  |  |  | dummy
TPREL_RSP | TPREL_RSP-SOLAR_SOLAR_16 | TPREL_RSP-SOLAR_SOLAR_AVC | TPREL_RSP-SOLAR_SOLAR_Act | normal | Radhaneshda
GIPCL_RSP | GIPCL_RSP-SOLAR_SOLAR_16 | GIPCL_RSP-SOLAR_SOLAR_AVC | GIPCL_RSP-SOLAR_SOLAR_Act | normal | Radhaneshda
ESPL_RSP | ESPL_RSP-SOLAR_SOLAR_16 | ESPL_RSP-SOLAR_SOLAR_AVC | ESPL_RSP-SOLAR_SOLAR_Act | normal | Radhaneshda
GSECL_RSP | GSECL_RSP-SOLAR_SOLAR_16 | GSECL_RSP-SOLAR_SOLAR_AVC | GSECL_RSP-SOLAR_SOLAR_Act | normal | Radhaneshda
GSECL_ph2_RSP_S | GSECL_ph2_RSP_S-SOLAR_SOLAR_16 | GSECL_ph2_RSP_S-SOLAR_SOLAR_AVC | GSECL_ph2_RSP_S-SOLAR_SOLAR_Act | normal | Radhaneshda
dummy** |  |  |  | dummy
dummy** |  |  |  | dummy
dummy** |  |  |  | dummy
Radhaneshda Pooling |  |  |  | agg_pooling_station | Radhaneshda
dummy** |  |  |  | dummy
KAWAS | KAWAS_SOLAR-SOLAR_SOLAR_16 | KAWAS_SOLAR-SOLAR_SOLAR_AVC | KAWAS_SOLAR-SOLAR_SOLAR_Act | normal | Kawas
dummy** |  |  |  | dummy
KAWAS Pooling |  |  |  | agg_pooling_station | Kawas
dummy** |  |  |  | dummy
GANDHAR | GANDHAR_SOLAR-SOLAR_SOLAR_16 | GANDHAR_SOLAR-SOLAR_SOLAR_AVC | GANDHAR_SOLAR-SOLAR_SOLAR_Act | normal | Gandhar
dummy** |  |  |  | dummy
GANDHAR Pooling |  |  |  | agg_pooling_station | Gandhar
dummy** |  |  |  | dummy
Sherisha Raipur | SHERISHA_RAIPUR_S-SOLAR_SOLAR_16 | SHERISHA_RAIPUR_S-SOLAR_SOLAR_AVC | SHERISHA_RAIPUR_S-SOLAR_SOLAR_Act | normal | Raipur
dummy** |  |  |  | dummy
Raipur Pooling |  |  |  | agg_pooling_station | Raipur
dummy** |  |  |  | dummy
Solapur Solar | SOLAPUR_SOLAR-SOLAR_SOLAR_16 | SOLAPUR_SOLAR-SOLAR_SOLAR_AVC | SOLAPUR_SOLAR-SOLAR_SOLAR_Act | normal | Solapur NTPC
dummy** |  |  |  | dummy
Solapur NTPC Pooling |  |  |  | agg_pooling_station | Solapur NTPC

## state_fsp_err_num_blks
name | r16_pnt | avc_pnt | actual_pnt | type | state
dummy** |  |  |  | dummy
dummy** |  |  |  | dummy
dummy** |  |  |  | dummy
dummy** |  |  |  | dummy
dummy** |  |  |  | dummy
dummy** |  |  |  | dummy
Gujarat Wind | Gujarat_Gujarat_WIND _16 | Gujarat_Gujarat_WIND _AVC | Gujarat_Gujarat_WIND _Act | normal | guj
Gujarat Solar | Gujarat_Gujarat_SOLAR _16 | Gujarat_Gujarat_SOLAR _AVC | Gujarat_Gujarat_SOLAR _Act | normal | guj
Total Gujarat RE |  |  |  | agg_state | guj
dummy** |  |  |  | dummy
Maharashtra Wind | Maharastra_Maharastra_WIND _16 | Maharastra_Maharastra_WIND _AVC | Maharastra_Maharastra_WIND _Act | normal | mah
Maharashtra Solar | Maharastra_Maharastra_SOLAR _16 | Maharastra_Maharastra_SOLAR _AVC | Maharastra_Maharastra_SOLAR _Act | normal | mah
Total Maharashtra RE |  |  |  | agg_state | mah
dummy** |  |  |  | dummy
Madhya Pradesh Wind | Madhya Pradesh_Madhya Pradesh_WIND _16 | Madhya Pradesh_Madhya Pradesh_WIND _AVC | Madhya Pradesh_Madhya Pradesh_WIND _Act | normal | mp
Madhya Pradesh Solar | Madhya Pradesh_Madhya Pradesh_SOLAR _16 | Madhya Pradesh_Madhya Pradesh_SOLAR _AVC | Madhya Pradesh_Madhya Pradesh_SOLAR _Act | normal | mp
Total Madhya Pradesh RE |  |  |  | agg_state | mp

## ists_fsp_rmse
name | r16_pnt | avc_pnt | actual_pnt | type | pooling_station
dummy** |  |  |  | dummy
dummy** |  |  |  | dummy
dummy** |  |  |  | dummy
dummy** |  |  |  | dummy
dummy** |  |  |  | dummy
dummy** |  |  |  | dummy
Ostro-(OKWPL_RE)-Wind | OKWPL_RE-WIND_WIND_16 | OKWPL_RE-WIND_WIND_AVC | OKWPL_RE-WIND_WIND_Act | normal | Bachau
Bhuvad(RPL SECI-2) Renew- Wind | RPL_SECI-II_RE-WIND_WIND_16 | RPL_SECI-II_RE-WIND_WIND_AVC | RPL_SECI-II_RE-WIND_WIND_Act | normal | Bachau
OEPL-Wind | OEPL-WIND_WIND_16 | OEPL-WIND_WIND_AVC | OEPL-WIND_WIND_Act | normal | Bachau
dummy** |  |  |  | dummy
dummy** |  |  |  | dummy
dummy** |  |  |  | dummy
dummy** |  |  |  | dummy
Bachau Pooling |  |  |  | agg_pooling_station | Bachau
dummy** |  |  |  | dummy
Vadva(GIWEL-2)-WIND | GIWEL_SECI-II_RE-WIND_WIND_16 | GIWEL_SECI-II_RE-WIND_WIND_AVC | GIWEL_SECI-II_RE-WIND_WIND_Act | normal | Bhuj
Naranpar(GIWEL-3)-WIND | GIWEL_SECI-III_RE-WIND_WIND_16 | GIWEL_SECI-III_RE-WIND_WIND_AVC | GIWEL_SECI-III_RE-WIND_WIND_Act | normal | Bhuj
Dayapar(Inox-IWISL)-WIND | IWISL-WIND_WIND_16 | IWISL-WIND_WIND_AVC | IWISL-WIND_WIND_Act | normal | Bhuj
AWEK1L-WIND | AWEK1L-WIND_WIND_16 | AWEK1L-WIND_WIND_AVC | AWEK1L-WIND_WIND_Act | normal | Bhuj
Alfanar-WIND | AlfanarWind_SECI-III-WIND_WIND_16 | AlfanarWind_SECI-III-WIND_WIND_AVC | AlfanarWind_SECI-III-WIND_WIND_Act | normal | Bhuj
Renew(AP2)-Wind | RWE_AP2_SECI-III-WIND_WIND_16 | RWE_AP2_SECI-III-WIND_WIND_AVC | RWE_AP2_SECI-III-WIND_WIND_Act | normal | Bhuj
AWEKFL-Wind | AWEKFL-WIND_WIND_16 | AWEKFL-WIND_WIND_AVC | AWEKFL-WIND_WIND_Act | normal | Bhuj
CPTTNPL-Wind | CPTTNPL-WIND_WIND_16 | CPTTNPL-WIND_WIND_AVC | CPTTNPL-WIND_WIND_Act | normal | Bhuj
ASIPL (Baranda)-WIND | ASIPL_BARANDA-WIND_WIND_16 | ASIPL_BARANDA-WIND_WIND_AVC | ASIPL_BARANDA-WIND_WIND_Act | normal | Bhuj
dummy** |  |  |  | dummy
dummy** |  |  |  | dummy
Bhuj Pooling |  |  |  | agg_pooling_station | Bhuj
dummy** |  |  |  | dummy
Srijan_Bhuj_2 | SRIJAN_MORJAR_BHJ2_W-WIND_WIND_16 | SRIJAN_MORJAR_BHJ2_W-WIND_WIND_AVC | SRIJAN_MORJAR_BHJ2_W-WIND_WIND_Act | normal | Bhuj_2
Sitac_Bhuj_2 | SITAC_CHUGGER_BHJ2_W-WIND_WIND_16 | SITAC_CHUGGER_BHJ2_W-WIND_WIND_AVC | SITAC_CHUGGER_BHJ2_W-WIND_WIND_Act | normal | Bhuj_2
Netra_Kotda_Bhuj_2 | NETRA_KOTDA_BHUJ_W-WIND_WIND_16 | NETRA_KOTDA_BHUJ_W-WIND_WIND_AVC | NETRA_KOTDA_BHUJ_W-WIND_WIND_Act | normal | Bhuj_2
AWEK4L_Dedya_Bhuj_2 | AWEK4L_DEDYA_BHUJ2_W-WIND_WIND_16 | AWEK4L_DEDYA_BHUJ2_W-WIND_WIND_AVC | AWEK4L_DEDYA_BHUJ2_W-WIND_WIND_Act | normal | Bhuj_2
Bhuj_2 Pooling |  |  |  | agg_pooling_station | Bhuj_2
dummy** |  |  |  | dummy
POWERICA_Jamkhambhalia | POWERICA-WIND_WIND_16 | POWERICA-WIND_WIND_AVC | POWERICA-WIND_WIND_Act | normal | Jamkhambalia
Apraava_Khakharda_Jamkhambaliya | APRAAVA_KHKRDA_JAM_W-WIND_WIND_16 | APRAAVA_KHKRDA_JAM_W-WIND_WIND_AVC | APRAAVA_KHKRDA_JAM_W-WIND_WIND_Act | normal | Jamkhambalia
Torrent Solargen Limited | Torrent_Sidpur_Jam_W-WIND_WIND_16 | Torrent_Sidpur_Jam_W-WIND_WIND_AVC | Torrent_Sidpur_Jam_W-WIND_WIND_Act | normal | Jamkhambalia
Jamkhambhalia Pooling |  |  |  | agg_pooling_station | Jamkhambalia
dummy** |  |  |  | dummy
Adani Wind Energy MP One Private Limited_PRITAMNAGAR | AWEMP1PL_PTNGR_IDR_W-WIND_WIND_16 | AWEMP1PL_PTNGR_IDR_W-WIND_WIND_AVC | AWEMP1PL_PTNGR_IDR_W-WIND_WIND_Act | normal | Indore PG
dummy** |  |  |  | dummy
Indore PG Pooling |  |  |  | agg_pooling_station | Indore PG
dummy** |  |  |  | dummy
dummy** |  |  |  | dummy
Barsaita Desh (Arinsun)-Solar | Arinsun_RUMS-SOLAR_SOLAR_16 | Arinsun_RUMS-SOLAR_SOLAR_AVC | Arinsun_RUMS-SOLAR_SOLAR_Act | normal | Rewa
Ram nagar (ATHENA RUMS)-Solar | Athena_RUMS-SOLAR_SOLAR_16 | Athena_RUMS-SOLAR_SOLAR_AVC | Athena_RUMS-SOLAR_SOLAR_Act | normal | Rewa
Badwar(Mahindra Rums)-Solar | Mahindra_RUMS-SOLAR_SOLAR_16 | Mahindra_RUMS-SOLAR_SOLAR_AVC | Mahindra_RUMS-SOLAR_SOLAR_Act | normal | Rewa
dummy** |  |  |  | dummy
dummy** |  |  |  | dummy
dummy** |  |  |  | dummy
dummy** |  |  |  | dummy
dummy** |  |  |  | dummy
Rewa Pooling |  |  |  | agg_pooling_station | Rewa
dummy** |  |  |  | dummy
TPREL_RSP | TPREL_RSP-SOLAR_SOLAR_16 | TPREL_RSP-SOLAR_SOLAR_AVC | TPREL_RSP-SOLAR_SOLAR_Act | normal | Radhaneshda
GIPCL_RSP | GIPCL_RSP-SOLAR_SOLAR_16 | GIPCL_RSP-SOLAR_SOLAR_AVC | GIPCL_RSP-SOLAR_SOLAR_Act | normal | Radhaneshda
ESPL_RSP | ESPL_RSP-SOLAR_SOLAR_16 | ESPL_RSP-SOLAR_SOLAR_AVC | ESPL_RSP-SOLAR_SOLAR_Act | normal | Radhaneshda
GSECL_RSP | GSECL_RSP-SOLAR_SOLAR_16 | GSECL_RSP-SOLAR_SOLAR_AVC | GSECL_RSP-SOLAR_SOLAR_Act | normal | Radhaneshda
GSECL_ph2_RSP_S | GSECL_ph2_RSP_S-SOLAR_SOLAR_16 | GSECL_ph2_RSP_S-SOLAR_SOLAR_AVC | GSECL_ph2_RSP_S-SOLAR_SOLAR_Act | normal | Radhaneshda
dummy** |  |  |  | dummy
dummy** |  |  |  | dummy
dummy** |  |  |  | dummy
Radhaneshda Pooling |  |  |  | agg_pooling_station | Radhaneshda
dummy** |  |  |  | dummy
KAWAS | KAWAS_SOLAR-SOLAR_SOLAR_16 | KAWAS_SOLAR-SOLAR_SOLAR_AVC | KAWAS_SOLAR-SOLAR_SOLAR_Act | normal | Kawas
dummy** |  |  |  | dummy
KAWAS Pooling |  |  |  | agg_pooling_station | Kawas
dummy** |  |  |  | dummy
GANDHAR | GANDHAR_SOLAR-SOLAR_SOLAR_16 | GANDHAR_SOLAR-SOLAR_SOLAR_AVC | GANDHAR_SOLAR-SOLAR_SOLAR_Act | normal | Gandhar
dummy** |  |  |  | dummy
GANDHAR Pooling |  |  |  | agg_pooling_station | Gandhar
dummy** |  |  |  | dummy
Sherisha Raipur | SHERISHA_RAIPUR_S-SOLAR_SOLAR_16 | SHERISHA_RAIPUR_S-SOLAR_SOLAR_AVC | SHERISHA_RAIPUR_S-SOLAR_SOLAR_Act | normal | Raipur
dummy** |  |  |  | dummy
Raipur Pooling |  |  |  | agg_pooling_station | Raipur
dummy** |  |  |  | dummy
Solapur Solar | SOLAPUR_SOLAR-SOLAR_SOLAR_16 | SOLAPUR_SOLAR-SOLAR_SOLAR_AVC | SOLAPUR_SOLAR-SOLAR_SOLAR_Act | normal | Solapur NTPC
dummy** |  |  |  | dummy
Solapur NTPC Pooling |  |  |  | agg_pooling_station | Solapur NTPC

## state_fsp_rmse
name | r16_pnt | avc_pnt | actual_pnt | type | state
dummy** |  |  |  | dummy
dummy** |  |  |  | dummy
dummy** |  |  |  | dummy
dummy** |  |  |  | dummy
dummy** |  |  |  | dummy
Gujarat Wind | Gujarat_Gujarat_WIND _16 | Gujarat_Gujarat_WIND _AVC | Gujarat_Gujarat_WIND _Act | normal | guj
Gujarat Solar | Gujarat_Gujarat_SOLAR _16 | Gujarat_Gujarat_SOLAR _AVC | Gujarat_Gujarat_SOLAR _Act | normal | guj
Total Gujarat RE |  |  |  | agg_state | guj
dummy** |  |  |  | dummy
Maharashtra Wind | Maharastra_Maharastra_WIND _16 | Maharastra_Maharastra_WIND _AVC | Maharastra_Maharastra_WIND _Act | normal | mah
Maharashtra Solar | Maharastra_Maharastra_SOLAR _16 | Maharastra_Maharastra_SOLAR _AVC | Maharastra_Maharastra_SOLAR _Act | normal | mah
Total Maharashtra RE |  |  |  | agg_state | mah
dummy** |  |  |  | dummy
Madhya Pradesh Wind | Madhya Pradesh_Madhya Pradesh_WIND _16 | Madhya Pradesh_Madhya Pradesh_WIND _AVC | Madhya Pradesh_Madhya Pradesh_WIND _Act | normal | mp
Madhya Pradesh Solar | Madhya Pradesh_Madhya Pradesh_SOLAR _16 | Madhya Pradesh_Madhya Pradesh_SOLAR _AVC | Madhya Pradesh_Madhya Pradesh_SOLAR _Act | normal | mp
Total Madhya Pradesh RE |  |  |  | agg_state | mp

## regional_da_forecast
name | type | forecast_pnt
dummy** | dummy
dummy** | dummy
dummy** | dummy
dummy** | dummy
Regional Solar | normal | WR_SOLAR
Regional Wind | normal | WR_WIND
Regional RE | normal | WR_COMBINED

## ists_da_forecast
name | type | forecast_pnt | pooling_station
dummy** | dummy
dummy** | dummy
dummy** | dummy
dummy** | dummy
dummy** | dummy
Ostro-(OKWPL_RE)-Wind | normal | OKWPL_RE-WIND_WIND | Bachau
Bhuvad(RPL SECI-2) Renew- Wind | normal | RPL_SECI-II_RE-WIND_WIND | Bachau
OEPL-Wind | normal | OEPL-WIND_WIND | Bachau
dummy** | dummy
dummy** | dummy
dummy** | dummy
dummy** | dummy
Bachau Pooling | agg_pooling_station |  | Bachau
dummy** | dummy
Vadva(GIWEL-2)-WIND | normal | GIWEL_SECI-II_RE-WIND_WIND | Bhuj
Naranpar(GIWEL-3)-WIND | normal | GIWEL_SECI-III_RE-WIND_WIND | Bhuj
Dayapar(Inox-IWISL)-WIND | normal | IWISL-WIND_WIND | Bhuj
AWEK1L-WIND | normal | AWEK1L-WIND_WIND | Bhuj
Alfanar-WIND | normal | AlfanarWind_SECI-III-WIND_WIND | Bhuj
Renew(AP2)-Wind | normal | RWE_AP2_SECI-III-WIND_WIND | Bhuj
AWEKFL-Wind | normal | AWEKFL-WIND_WIND | Bhuj
CPTTNPL-Wind | normal | CPTTNPL-WIND_WIND | Bhuj
ASIPL (Baranda)-WIND | normal | ASIPL_BARANDA-WIND_WIND | Bhuj
dummy** | dummy
dummy** | dummy
Bhuj Pooling | agg_pooling_station |  | Bhuj
dummy** | dummy
Srijan_Bhuj_2 | normal | SRIJAN_MORJAR_BHJ2_W-WIND_WIND | Bhuj_2
Sitac_Bhuj_2 | normal | SITAC_CHUGGER_BHJ2_W-WIND_WIND | Bhuj_2
Netra_Kotda_Bhuj_2 | normal | NETRA_KOTDA_BHUJ_W-WIND_WIND | Bhuj_2
AWEK4L_Dedya_Bhuj_2 | normal | AWEK4L_DEDYA_BHUJ2_W-WIND_WIND | Bhuj_2
Bhuj_2 Pooling | agg_pooling_station |  | Bhuj_2
dummy** | dummy
POWERICA_Jamkhambhalia | normal | POWERICA-WIND_WIND | Jamkhambalia
Apraava_Khakharda_Jamkhambaliya | normal | APRAAVA_KHKRDA_JAM_W-WIND_WIND | Jamkhambalia
Torrent Solargen Limited | normal | Torrent_Sidpur_Jam_W-WIND_WIND | Jamkhambalia
Jamkhambhalia Pooling | agg_pooling_station |  | Jamkhambalia
dummy** | dummy
Adani Wind Energy MP One Private Limited_PRITAMNAGAR | normal | AWEMP1PL_PTNGR_IDR_W-WIND_WIND | Indore PG
dummy** | dummy
Indore PG Pooling | agg_pooling_station |  | Indore PG
dummy** | dummy
dummy** | dummy
Barsaita Desh (Arinsun)-Solar | normal | Arinsun_RUMS-SOLAR_SOLAR | Rewa
Ram nagar (ATHENA RUMS)-Solar | normal | Athena_RUMS-SOLAR_SOLAR | Rewa
Badwar(Mahindra Rums)-Solar | normal | Mahindra_RUMS-SOLAR_SOLAR | Rewa
dummy** | dummy
dummy** | dummy
dummy** | dummy
dummy** | dummy
dummy** | dummy
Rewa Pooling | agg_pooling_station |  | Rewa
dummy** | dummy
TPREL_RSP | normal | TPREL_RSP-SOLAR_SOLAR | Radhaneshda
GIPCL_RSP | normal | GIPCL_RSP-SOLAR_SOLAR | Radhaneshda
ESPL_RSP | normal | ESPL_RSP-SOLAR_SOLAR | Radhaneshda
GSECL_RSP | normal | GSECL_RSP-SOLAR_SOLAR | Radhaneshda
GSECL_ph2_RSP_S | normal | GSECL_RSP-SOLAR_SOLAR | Radhaneshda
dummy** | dummy
dummy** | dummy
dummy** | dummy
Radhaneshda Pooling | agg_pooling_station |  | Radhaneshda
dummy** | dummy
KAWAS | normal | KAWAS_SOLAR-SOLAR_SOLAR | Kawas
dummy** | dummy
KAWAS Pooling | agg_pooling_station |  | Kawas
dummy** | dummy
GANDHAR | normal | GANDHAR_SOLAR-SOLAR_SOLAR | Gandhar
dummy** | dummy
GANDHAR Pooling | agg_pooling_station |  | Gandhar
dummy** | dummy
Sherisha Raipur | normal | SHERISHA_RAIPUR_S-SOLAR_SOLAR | Raipur
dummy** | dummy
Raipur Pooling | agg_pooling_station |  | Raipur
dummy** | dummy
Solapur Solar | normal | SOLAPUR_SOLAR-SOLAR_SOLAR | Solapur NTPC
dummy** | dummy
Solapur NTPC Pooling | agg_pooling_station |  | Solapur NTPC
dummy** | dummy
Total ISTS Wind | normal | WR-ISTS_WIND
Total ISTS Solar | normal | WR-ISTS_SOLAR
Total WR ISTS RE | normal | WR-ISTS_COMBINED

## state_da_forecast
name | type | forecast_pnt | state | gen_type | gen_type2
dummy** | dummy
dummy** | dummy
dummy** | dummy
Gujarat Wind | normal | Gujarat_WIND | guj | wind | re
Gujarat Solar | normal | Gujarat_SOLAR | guj | solar | re
Total Gujarat RE | agg_state |  | guj
dummy** | dummy
Maharashtra Wind | normal | Maharastra_WIND | mah | wind | re
Maharashtra Solar | normal | Maharastra_SOLAR | mah | solar | re
Total Maharashtra RE | agg_state |  | mah
dummy** | dummy
Madhya Pradesh Wind | normal | Madhya Pradesh_WIND | mp | wind | re
Madhya Pradesh Solar | normal | Madhya Pradesh_SOLAR | mp | solar | re
Total Madhya Pradesh RE | agg_state |  | mp
dummy** | dummy
Total State Wind | agg_gen_type |  |  | wind
Total State Solar | agg_gen_type |  |  | solar
Total State RE | agg_gen_type2 |  |  |  | re

## remc_graph_data
name | pnt | store
Hrs | Time Stamp | fcaForecastVsActualStore
Regional Forecast R16 | WR_WR_COMBINED_16 | fcaForecastVsActualStore
Regional Actual | WR_WR_COMBINED_Act | fcaForecastVsActualStore
Regional Actual for previous day | WR_WR_COMBINED_Act | fcaForecastVsActualPrevStore
Regional Solar Forecast R16 | WR_WR_SOLAR _16 | fcaForecastVsActualStore
Regional Solar Actual | WR_WR_SOLAR _Act | fcaForecastVsActualStore
Regional Solar Actual for previous day | WR_WR_SOLAR _Act | fcaForecastVsActualPrevStore
Regional Wind Forecast R16 | WR_WR_WIND _16 | fcaForecastVsActualStore
Regional Wind Actual | WR_WR_WIND _Act | fcaForecastVsActualStore
Regional Wind Actual for previous day | WR_WR_WIND _Act | fcaForecastVsActualPrevStore
ISTS Renewable Forecast R16 | WR-ISTS_WR-ISTS_COMBINED_16 | fcaForecastVsActualStore
ISTS Renewable Actual | WR-ISTS_WR-ISTS_COMBINED_Act | fcaForecastVsActualStore
ISTS Renewable Actual for previous day | WR-ISTS_WR-ISTS_COMBINED_Act | fcaForecastVsActualPrevStore
ISTS Solar Forecast R16 | WR-ISTS_WR-ISTS_SOLAR _16 | fcaForecastVsActualStore
ISTS Solar Actual | WR-ISTS_WR-ISTS_SOLAR _Act | fcaForecastVsActualStore
ISTS Solar Actual for previous day | WR-ISTS_WR-ISTS_SOLAR _Act | fcaForecastVsActualPrevStore
ISTS Wind Forecast R16 | WR-ISTS_WR-ISTS_WIND _16 | fcaForecastVsActualStore
ISTS Wind Actual | WR-ISTS_WR-ISTS_WIND _Act | fcaForecastVsActualStore
ISTS Wind Actual for previous day | WR-ISTS_WR-ISTS_WIND _Act | fcaForecastVsActualPrevStore
Bachau Pooling Forecast R16 | OKWPL_RE-WIND_WIND_16,RPL_SECI-II_RE-WIND_WIND_16 | fcaForecastVsActualStore
Bachau Pooling Actual | OKWPL_RE-WIND_WIND_Act,RPL_SECI-II_RE-WIND_WIND_Act | fcaForecastVsActualStore
Bachau Pooling Actual for previous day | OKWPL_RE-WIND_WIND_Act,RPL_SECI-II_RE-WIND_WIND_Act | fcaForecastVsActualPrevStore
Bhuj Pooling Forecast R16 | GIWEL_SECI-II_RE-WIND_WIND_16,GIWEL_SECI-III_RE-WIND_WIND_16,IWISL-WIND_WIND_16,AWEK1L-WIND_WIND_16 | fcaForecastVsActualStore
Bhuj Pooling Actual | GIWEL_SECI-II_RE-WIND_WIND_Act,GIWEL_SECI-III_RE-WIND_WIND_Act,IWISL-WIND_WIND_Act,AWEK1L-WIND_WIND_Act | fcaForecastVsActualStore
Bhuj Pooling Actual for previous day | GIWEL_SECI-II_RE-WIND_WIND_Act,GIWEL_SECI-III_RE-WIND_WIND_Act,IWISL-WIND_WIND_Act,AWEK1L-WIND_WIND_Act | fcaForecastVsActualPrevStore
Rewa Pooling Forecast R16 | Arinsun_RUMS-SOLAR_SOLAR_16,Athena_RUMS-SOLAR_SOLAR_16,Mahindra_RUMS-SOLAR_SOLAR_16 | fcaForecastVsActualStore
Rewa Pooling Actual | Arinsun_RUMS-SOLAR_SOLAR_Act,Athena_RUMS-SOLAR_SOLAR_Act,Mahindra_RUMS-SOLAR_SOLAR_Act | fcaForecastVsActualStore
Rewa Pooling Actual for previous day | Arinsun_RUMS-SOLAR_SOLAR_Act,Athena_RUMS-SOLAR_SOLAR_Act,Mahindra_RUMS-SOLAR_SOLAR_Act | fcaForecastVsActualPrevStore
Gujarat Renewable Forecast R16 | Gujarat_Gujarat_WIND _16,Gujarat_Gujarat_SOLAR _16 | fcaForecastVsActualStore
Gujarat Renewable Actual | Gujarat_Gujarat_WIND _Act,Gujarat_Gujarat_SOLAR _Act | fcaForecastVsActualStore
Gujarat Renewable Actual for previous day | Gujarat_Gujarat_WIND _Act,Gujarat_Gujarat_SOLAR _Act | fcaForecastVsActualPrevStore
Gujarat Wind Forecast R16 | Gujarat_Gujarat_WIND _16 | fcaForecastVsActualStore
Gujarat Wind Actual | Gujarat_Gujarat_WIND _Act | fcaForecastVsActualStore
Gujarat Wind Actual for previous day | Gujarat_Gujarat_WIND _Act | fcaForecastVsActualPrevStore
Gujarat Solar Forecast R16 | Gujarat_Gujarat_SOLAR _16 | fcaForecastVsActualStore
Gujarat Solar Actual | Gujarat_Gujarat_SOLAR _Act | fcaForecastVsActualStore
Gujarat Solar Actual for previous day | Gujarat_Gujarat_SOLAR _Act | fcaForecastVsActualPrevStore
Madhya Pradesh Renewable Forecast R16 | Madhya Pradesh_Madhya Pradesh_WIND _16,Madhya Pradesh_Madhya Pradesh_SOLAR _16 | fcaForecastVsActualStore
Madhya Pradesh Renewable Actual | Madhya Pradesh_Madhya Pradesh_WIND _Act,Madhya Pradesh_Madhya Pradesh_SOLAR _Act | fcaForecastVsActualStore
Madhya Pradesh Renewable Actual for previous day | Madhya Pradesh_Madhya Pradesh_WIND _Act,Madhya Pradesh_Madhya Pradesh_SOLAR _Act | fcaForecastVsActualPrevStore
Madhya Pradesh Wind Forecast R16 | Madhya Pradesh_Madhya Pradesh_WIND _16 | fcaForecastVsActualStore
Madhya Pradesh Wind Actual | Madhya Pradesh_Madhya Pradesh_WIND _Act | fcaForecastVsActualStore
Madhya Pradesh Wind Actual for previous day | Madhya Pradesh_Madhya Pradesh_WIND _Act | fcaForecastVsActualPrevStore
Madhya Pradesh Solar Forecast R16 | Madhya Pradesh_Madhya Pradesh_SOLAR _16 | fcaForecastVsActualStore
Madhya Pradesh Solar Actual | Madhya Pradesh_Madhya Pradesh_SOLAR _Act | fcaForecastVsActualStore
Madhya Pradesh Solar Actual for previous day | Madhya Pradesh_Madhya Pradesh_SOLAR _Act | fcaForecastVsActualPrevStore
Maharashtra Renewable Forecast R16 | Maharastra_Maharastra_WIND _16,Maharastra_Maharastra_SOLAR _16 | fcaForecastVsActualStore
Maharashtra Renewable Actual | Maharastra_Maharastra_WIND _Act,Maharastra_Maharastra_SOLAR _Act | fcaForecastVsActualStore
Maharashtra Renewable Actual for previous day | Maharastra_Maharastra_WIND _Act,Maharastra_Maharastra_SOLAR _Act | fcaForecastVsActualPrevStore
Maharashtra Wind Forecast R16 | Maharastra_Maharastra_WIND _16 | fcaForecastVsActualStore
Maharashtra Wind Actual | Maharastra_Maharastra_WIND _Act | fcaForecastVsActualStore
Maharashtra Wind Actual for previous day | Maharastra_Maharastra_WIND _Act | fcaForecastVsActualPrevStore
Maharashtra Solar Forecast R16 | Maharastra_Maharastra_SOLAR _16 | fcaForecastVsActualStore
Maharashtra Solar Actual | Maharastra_Maharastra_SOLAR _Act | fcaForecastVsActualStore
Maharashtra Solar Actual for previous day | Maharastra_Maharastra_SOLAR _Act | fcaForecastVsActualPrevStore
Radhaneshda Pooling Forecast R16 | TPREL_RSP-SOLAR_SOLAR_16,GIPCL_RSP-SOLAR_SOLAR_16,ESPL_RSP-SOLAR_SOLAR_16 | fcaForecastVsActualStore
Radhaneshda Pooling Actual | TPREL_RSP-SOLAR_SOLAR_Act,GIPCL_RSP-SOLAR_SOLAR_Act,ESPL_RSP-SOLAR_SOLAR_Act | fcaForecastVsActualStore
Radhaneshda Pooling Actual for previous day | TPREL_RSP-SOLAR_SOLAR_Act,GIPCL_RSP-SOLAR_SOLAR_Act,ESPL_RSP-SOLAR_SOLAR_Act | fcaForecastVsActualPrevStore

## scada_graph_data
name | pnt | day_offset
Time | HRS | -1
BACHHAU Bus 1 Voltage | WREMCPRI.SCADA01.00016226 | -1
BACHHAU Bus 2 Voltage | WREMCPRI.SCADA01.00016227 | -1
BHUJ Bus 1 Voltage | WREMCPRI.SCADA01.00038819 | -1
BHUJ Bus 2 Voltage | WREMCPRI.SCADA01.00038817 | -1
REWA Bus 1 Voltage | WREMCPRI.SCADA01.00016241 | -1
REWA Bus 2 Voltage | WREMCPRI.SCADA01.00016242 | -1
Radhaneshda Bus 1 Voltage | WREMCPRI.SCADA02.00053094 | -1